## Slide 1: MTX3D-E03E42
Version 1.1

## Slide 2
MAIN-IN-U (28-1)
TOF: (24-1)
TOF-Ext: (28-25)
Trig2Dveto1
MAIN-IN-D (8-1)
BH2
Sync
Sync
1
0
(4-1)
SW2 (DIP) bit-2
(8-5)
11 ns
DWG
DWG
MZN-U/D (64-1)
SCH
Sync
Sync
MTX2D
DWG
DWG
MTX3D
Fixed
delay
Fixed
width
BH2 in
NIM-IN (4-1)
BH2 (4-1)
Trig2D1
TOF in
SCH in
MTX2D-1
DWG
DWG
DWG
DWG
DWG
MTX3D
Trig3D
BH2-OR
TOF-OR
SCH-OR
MTX2D-2 (Same as MTX2D-1)
TOF in
SCH in
TOF in
SCH in
BH2 in
TofExt
Trig
Trig
TofExt
To IOM
(NIM-OUT)
IOB: True
DWG: Delay Width Generator
Sync: Double-FF
Configuration of MTX3D-E03E42

## Slide 3
HUL MTX3D_E03E42 software
Control software is included in hul-software.git as Mtx3D_E03E42.
To build executable files from sources, gcc version 7 (or more) is necessary.
If your OS is CentOS 8, no problem. But, if you are using CentOS 7, devtoolset must be enabled (or gcc compiled by yourself).
Executable files.
load_nimo: Select ouput signals from NIM-OUT ports.
load_register: Set DWG registers.
load_matrix3d: Set matrix pattern to the matrix3d module.
load_matrix2d: Set matrix pattern to the matrix2d-1 (or -2) modules.
Example registers for these exec files are in Mtx3D_E03E42/example_register.
In the fe_hul02 computer, devtoolset-7 and executable files compiled by gcc 7.3 are installed.
But, devtoolset-7 is not enabled usually. When you use it, run this command.
scl enable devtoolset-7 bash

## Slide 4
NIMO (IOM) register
Example register file is in example_register/nimo.
How to use:
load_nimo [IP] [register file]
These commands are set to NIM-OUT 1-4 ports.

## Slide 5
DWG register
Example register file is in example_register/dwg.
How to use:
load_register [IP] [register file]
Do NOT exceed these range.
LSB of DWG register corresponds to 2.85... ns
Veto timing.
Should be 0 in usual.
Veto window.
Should be adjusted.
Width of TOF, SCH, and BH2-OR signals are determined by registers in MTX3D.

## Slide 6
Matrix3D register
Example register file is in example_register/mtx.
How to use:
load_matrix3d [IP] [register file]
E.g. register for TOF-0 x SCH-2 x BH2-(0-7) segments.
Most left bit is BH2-0, Most right bit is BH2-7.
If you want to enable a target matrix element, set 1.
Software doesn’t check this label. This is just for user convenience.
Do NOT change the register order.

## Slide 7
Matrix2D register
Example register file is in example_register/mtx.
How to use:
load_matrix2d [IP] [register file] [index (1 or 2)]
As there are two matrix2d modules in FPGA, index (1 or 2) is necessary to indicate which one is selected. Only 1 or 2 are meaningful numbers.
TOF x SCH matrix pattern.
Important points are the same as that of MTX3D.

## Slide 8
Comments
Shell scripts and log system are not prepared.
Latest firmware files are in
https://wwwkm.phys.sci.osaka-u.ac.jp/nextcloud/index.php/s/LGNfPbNgsJmFq2E